## NPDES Monitoring Data Download
NPDES Monitoring Data Download
Search Criteria:
Monitoring Period Range: 1/2010 to 08/2022
Facility ID: TX0054623
Outfall - Monitoring Location - Limit Set: 001 - 1 - A
| BOD, carbonaceous, 05 day, 20 C | BOD, carbonaceous, 05 day, 20 C | BOD, carbonaceous, 05 day, 20 C | BOD, carbonaceous, 05 day, 20 C | E. coli | E. coli | E. coli | E. coli | E. coli | Flow, in conduit or thru treatment plant | Flow, in conduit or thru treatment plant | Nitrogen, ammonia total (as N) | Nitrogen, ammonia total (as N) | Nitrogen, ammonia total (as N) | Oxygen, dissolved (DO) | Solids, total suspended | Solids, total suspended | pH | pH
| 100 mg/L | 30 mg/L | 35 mg/L | 56 lb/d | 126 CFU/100mL | 126 MPN/100mL | 394 CFU/100mL | 399 CFU/100mL | 399 MPN/100mL | .225 MGD | Mon MGD | 15 mg/L | 3 mg/L | 5.6 lb/d | 4 mg/L | 169 lb/d | 90 mg/L | 6 SU | 9 SU
Mon Pd End Date: | SINGGRAB | DAILY AV | SINGGRAB | DAILY AV | DAILY AV | DAILY AV | SINGGRAB | SINGGRAB | SINGGRAB | DAILY AV | DAILY MX | SINGGRAB | DAILY AV | DAILY AV | MO MIN | DAILY AV | DAILY AV | MINIMUM | MAXIMUM
01/31/2010 |  | 20 | 25 | 26.45 | 6.75 |  | 18 |  |  | .225 | .225 | 3.53 | 3.3 | 4.5 | 10.5 | 30.47 | 22.84 | 8.9 | 9.4
02/28/2010 |  | 11.25 | 19 | 81.6 | 201 |  | 461 |  |  | .235 | .491 | 7.48 | 7.14 | 9.8 | 11 | 53.23 | 35.56 | 8.4 | 9.2
03/31/2010 |  | 14 | 25 | 9.5 | 76 |  | 161 |  |  | .225 | .357 | 16.8 | 15 | 13.5 | 8.5 | 37.45 | 48 | 8.4 | 9.4
04/30/2010 |  | 13.75 | 16 | 9.09 | 17.6 |  | 31.1 |  |  | .186 | .254 | 7.59 | 4.3 | 3.13 | 6.7 | 36.5 | 54.25 | 8.6 | 9.3
05/31/2010 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
06/30/2010 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
07/31/2010 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
08/31/2010 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
09/30/2010 |  | 9 | 10 | 15.39 | 49.5 |  | 49.5 |  |  | .224 | .407 | 2.5 | 1.78 | 2.66 | 6.4 | 190 | 27 | 8.8 | 9.4
10/31/2010 |  | 11.75 | 15 | 11.24 | 231 |  | 770 |  |  | .107 | .373 | 3.62 | 1.49 | 1.54 | 6.6 | 30 | 32.5 | 8.24 | 9.7
11/30/2010 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
12/31/2010 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
01/31/2011 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
02/28/2011 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
03/31/2011 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
04/30/2011 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
05/31/2011 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
06/30/2011 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
08/31/2011 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
09/30/2011 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
10/31/2011 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
11/30/2011 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
12/31/2011 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
01/31/2012 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
02/29/2012 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
03/31/2012 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
04/30/2012 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
05/31/2012 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
06/30/2012 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
07/31/2012 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
08/31/2012 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
09/30/2012 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
10/31/2012 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
11/30/2012 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
12/31/2012 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
01/31/2013 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
02/28/2013 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
03/31/2013 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
04/30/2013 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
05/31/2013 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
06/30/2013 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
07/31/2013 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
08/31/2013 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
09/30/2013 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
10/31/2013 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
11/30/2013 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
12/31/2013 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
01/31/2014 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
02/28/2014 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
03/31/2014 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
04/30/2014 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
05/31/2014 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
06/30/2014 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
07/31/2014 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
08/31/2014 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
09/30/2014 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
10/31/2014 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
11/30/2014 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
12/31/2014 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
01/31/2015 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
02/28/2015 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
03/31/2015 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
04/30/2015 |  | NODI: C | NODI: C | NODI: C | NODI: C |  | NODI: C |  |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
05/31/2015 | 17 | 17 |  | 18.71 | 1200 |  |  | 2420 |  | .191 | .397 | .16 | .16 | .17 | 4.73 | 81 | 74 | 8.2 | 8.9
06/30/2015 | 12 | 12 |  | 31.92 | 28.8 |  |  | 28.8 |  | .1615 | .225 | .05 | .05 | .13 | 5.5 | 138 | 52 | 8.88 | 8.88
07/31/2015 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
08/31/2015 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
09/30/2015 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
10/31/2015 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
11/30/2015 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
12/31/2015 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
01/31/2016 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
02/29/2016 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
03/31/2016 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
04/30/2016 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
05/31/2016 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
06/30/2016 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
07/31/2016 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
08/31/2016 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
09/30/2016 | 10 | 8.67 |  | 7.57 | 12.23 |  |  | 21.8 |  | .143 | .295 | 1.4 | .5 | .3 | 5.8 | 36.36 | 43 | 8.8 | 8.9
10/31/2016 | 9 | 8.5 |  | 5.57 | 15.4 |  |  | 17.3 |  | .13 | .156 | .58 | .44 | .29 | 5.5 | 17.11 | 26 | 8.68 | 8.68
11/30/2016 | 12 | 14 |  | 17.8 | 62 |  |  | 25 |  | .134 | .186 | 7.28 | 4.09 | 5.54 | 7.26 | 60.04 | 47.5 | 8.73 | 8.9
12/31/2016 | 27 | 24.67 |  | 27.8 | 121 |  |  | 214 |  | .127 | .268 | 14.7 | 10.66 | 12.97 | 11.34 | 54.53 | 50.34 | 8.8 | 8.9
01/31/2017 | 30 | 18.32 |  | 28.97 | 25.9 |  |  | 27.2 |  | .14 | .193 | 4.95 | 1.99 | 1.33 | 8.02 | 25 | 42 | 8.3 | 8.8
02/28/2017 | 30 | 22.75 |  | 21.22 | 11.57 |  |  | 27.2 |  | .144 | .199 | 4.25 | 5.14 | 1.1 | 9.09 | 46.84 | 42 | 9 | 9
03/31/2017 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
04/30/2017 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
05/31/2017 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
06/30/2017 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
07/31/2017 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
10/31/2017 | 24 | 18.5 |  | 12.85 |  | 34.1 |  |  | 34.1 | .05 | .129 | 2.47 | 1.67 | 1.29 | 6.12 | 33.7 | 43.69 | 8.5 | 8.92
11/30/2017 | 6 | 6 |  | 4.4 | 62.4 |  |  | 62.4 |  | .088 | .13 | 3.48 | 3.48 | 2.55 | 5.73 | 48.4 | 66 | 8.6 | 8.9
12/31/2017 | 8 | 4 |  | 6.6 | 1.78 |  |  | 3.1 |  | .159 | 379 | .3 | .112 | .352 | 4.03 | 38.5 | 25.25 | 7 | 7.6
01/31/2018 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
02/28/2018 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
03/31/2018 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
04/30/2018 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
05/31/2018 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
06/30/2018 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
07/31/2018 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
08/31/2018 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
09/30/2018 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
10/31/2018 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
11/30/2018 | 9 | 7 |  | 6.59 | 2.5 |  |  | 15.8 |  | .119 | .166 | .5 | .26 | .28 | 2.93 | 29.82 | 29.66 | 7.3 | 7.5
12/31/2018 | 8 | 4 |  | 6.6 |  | 1.78 |  |  | 3.1 | .159 | 379 | .3 | .112 | .352 | 4.03 | 38.5 | 25.25 | 7 | 7.6
01/31/2019 | 6 | 2.4 |  | 3.5 |  | 2.5 |  |  | 6.3 | .188 | .372 | .06 | .05 | .08 | 6.26 | 26.48 | 16.2 | 6.9 | 7.5
02/28/2019 | 21.76 | 2.75 |  | 2.49 |  | 4.25 |  |  | 11 | .149 | .2 | .05 | .05 | .251 | 6.12 | 10.57 | 8.25 | 7 | 7.2
03/31/2019 | 2 | 1.25 |  | 1.39 |  | 1.18 |  |  | 2 | .135 | .179 | .05 | .05 | .055 | 5.68 | 3.05 | 2.75 | 7 | 7.13
04/30/2019 | 3 | 2.5 |  | 4.14 |  | 5.11 |  |  | 687 | .137 | .248 | .17 | .09 | .1 | 4.75 | 15.7 | 13 | 6.7 | 7.1
05/31/2019 | 2 | 1.4 |  | 1.95 |  | 1 |  |  | 1 | .223 | .513 | .07 | .05 | .08 | 5.6 | 1.83 | 2 | 7 | 7.2
06/30/2019 | 1 | 1 |  | 1.54 |  | 1 |  |  | 1 | .14 | .197 | 1.11 | .31 | .49 | 4.4 | 2.69 | 3 | 7 | 7
07/31/2019 | 2 | 1.2 |  | 1.09 | < 1 |  |  | < 1 |  | .114 | .168 | .05 | .05 | .03 | 5 | 1.27 | 1.4 | 7 | 7.3
08/31/2019 | 1 | 1 |  | .99 |  | 1 |  |  | 1 | .116 | .15 | .05 | .05 | .04 | 5 | .99 | 1 | 7 | 7.04
09/30/2019 | 2 | 1.25 |  | 1.2 |  | 1 |  |  | 1 | .109 | 140 | .05 | .05 | .04 | 5 | 1.13 | 2 | 7.05 | 7.2
10/31/2019 | 1 | 1 |  | .94 |  | 1 |  |  | 1 | .107 | .135 | .05 | .05 | .04 | 4.6 | .94 | 1 | 6.8 | 7.1
11/30/2019 | 1 | 1 |  | .94 |  | 1 |  |  | 1 | .108 | .138 | .21 | .09 | .04 | 4.11 | .94 | 1.25 | 6.8 | 7.02
12/31/2019 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
01/31/2020 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
02/29/2020 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
03/31/2020 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
04/30/2020 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
05/31/2020 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
06/30/2020 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
07/31/2020 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
08/31/2020 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
09/30/2020 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
10/31/2020 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
11/30/2020 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
12/31/2020 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
01/31/2021 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
02/28/2021 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
03/31/2021 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
04/30/2021 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
05/31/2021 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
06/30/2021 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
07/31/2021 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
08/31/2021 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
09/30/2021 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
10/31/2021 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
11/30/2021 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
12/31/2021 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
01/31/2022 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
02/28/2022 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
03/31/2022 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
04/30/2022 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
05/31/2022 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
06/30/2022 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
07/31/2022 | NODI: C | NODI: C |  | NODI: C | NODI: C |  |  | NODI: C |  | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
Outfall - Monitoring Location - Limit Set: SLD - SL - F
Compliance w/part 258 sludge requirement
Mon Y=1;N=0
Mon Pd End Date: | VALUE
07/31/2010 | NODI: C
07/31/2011 | 1
07/31/2012 | NODI: C
07/31/2013 | NODI: C
07/31/2014 | NODI: C
12/31/2015
07/31/2016 | 1
07/31/2017 | NODI: C
07/31/2018 | NODI: C
07/31/2019 | NODI: C
07/31/2020 | NODI: C
Outfall - Monitoring Location - Limit Set: SLD - SL - P
| Annual amount of sludge land applied | Annual amount of sludge land applied | Annual amt of sludge incinerated | Annual amt of sludge incinerated | Annual amt sludge disposed in landfill | Annual amt sludge disposed in landfill | Annual amt sludge transported interstate | Annual amt sludge transported interstate | Annual amt. sludge disposed surface unit | Annual amt. sludge disposed surface unit | Annual sludge production, total | Annual sludge production, total | Polychlorinated biphenyls (PCBs) | Toxicity characteristic leaching procedure
| Mon DMT/y | Mon metric t/yr | Mon DMT/y | Mon metric t/yr | Mon DMT/y | Mon metric t/yr | Mon DMT/y | Mon metric t/yr | Mon DMT/y | Mon metric t/yr | Mon DMT/y | Mon metric t/yr | 49 mg/kg | Mon pass=0/fail=1
Mon Pd End Date: | ANNL TOT | ANNL TOT | ANNL TOT | ANNL TOT | ANNL TOT | ANNL TOT | ANNL TOT | ANNL TOT | ANNL TOT | ANNL TOT | ANNL TOT | ANNL TOT | ANNL MAX | MO AV MN
07/31/2010 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 63.75 |  | NODI: 9 | NODI: 9
07/31/2011 | [11 empty] | 22.96 |  | 1
12/31/2011
07/31/2012 |  | 0 |  | 0 | [7 empty] | 29.45 |  | 0
12/31/2012
07/31/2013 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 280.5 | 0 | 0
07/31/2014 | 0 |  | 0 |  | 22.91 |  | 22.91 |  | 0 |  | 22.91 |  | NODI: 9 | 0
12/31/2015
07/31/2016 | 0 |  | 0 |  | 177.36 |  | 0 |  | 0 |  | 177.36 |  | 0 | 0
12/31/2017
07/31/2018 | [6 empty] | 5.4 |  |  |  | 5.4
12/31/2018
07/31/2019 | 0 |  | 0 |  | 11.52 |  | 0 |  | 0 |  | 11.52 |  | 0 | 0
07/31/2020 | 0 |  | 0 |  | 11.04 |  | 0 |  | 0 |  | 11.04 |  | 0 | 0
Outfall - Monitoring Location - Limit Set: SLD - V - P
| Ann. amt sludge disposed by other method | Ann. amt sludge disposed by other method
| Mon DMT/y | Mon metric t/yr
Mon Pd End Date: | ANNL TOT | ANNL TOT
07/31/2010 | 0
12/31/2011
07/31/2012 |  | 29.45
07/31/2013 |  | 280.5
07/31/2014 | 0
12/31/2015
07/31/2016 | 177.36
12/31/2017
12/31/2018
07/31/2019 | 0
07/31/2020 | 0
Outfall - Monitoring Location - Limit Set: SLL - P - A
Annual whole sludge application rate
Mon met t/ha/yr
Mon Pd End Date: | MX VALUE
07/31/2010 | NODI: C
07/31/2011 | NODI: C
07/31/2012 | NODI: C
07/31/2013 | NODI: C
07/31/2014 | NODI: C
12/31/2015
07/31/2016 | NODI: C
07/31/2017 | NODI: C
07/31/2018 | NODI: C
07/31/2019 | NODI: C
07/31/2020 | NODI: C
Outfall - Monitoring Location - Limit Set: SLL - R - A
| Arsenic, dry weight | Arsenic, dry weight | Arsenic, dry weight | Cadmium, dry weight | Cadmium, dry weight | Cadmium, dry weight | Chromium, dry weight | Chromium, dry weight | Chromium, dry weight | Copper, dry weight | Copper, dry weight | Copper, dry weight | Lead, dry weight | Lead, dry weight | Lead, dry weight | Mercury, dry weight | Mercury, dry weight | Mercury, dry weight | Molybdenum, dry weight | Molybdenum, dry weight | Molybdenum, dry weight | Nickel, dry weight | Nickel, dry weight | Nickel, dry weight | Selenium, dry weight | Selenium, dry weight | Selenium, dry weight | Zinc, dry weight | Zinc, dry weight | Zinc, dry weight
| 36 lb/acr | 41 mg/kg | 75 mg/kg | 35 lb/acr | 39 mg/kg | 85 mg/kg | 1200 mg/kg | 2677 lb/acr | 3000 mg/kg | 1339 lb/acr | 1500 mg/kg | 4300 mg/kg | 268 lb/acr | 300 mg/kg | 840 mg/kg | 15 lb/acr | 17 mg/kg | 57 mg/kg | 75 mg/kg | Mon lb/acr | Mon mg/kg | 375 lb/acr | 420 mg/kg | 420 mg/kg | 100 mg/kg | 36 mg/kg | 89 lb/acr | 2500 lb/acr | 2800 mg/kg | 7500 mg/kg
Mon Pd End Date: | MX VALUE | SINGSAMP | MAXIMUM | MX VALUE | SINGSAMP | MAXIMUM | SINGSAMP | MX VALUE | MAXIMUM | MX VALUE | SINGSAMP | MAXIMUM | MX VALUE | SINGSAMP | MAXIMUM | MX VALUE | SINGSAMP | MAXIMUM | MAXIMUM | MX VALUE | SINGSAMP | MX VALUE | MAXIMUM | SINGSAMP | MAXIMUM | SINGSAMP | MX VALUE | MX VALUE | SINGSAMP | MAXIMUM
07/31/2010 | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
07/31/2011 | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
07/31/2012 | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
07/31/2013 | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
07/31/2014 | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
12/31/2015
07/31/2016 | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
07/31/2017 | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
07/31/2018 | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
07/31/2019 | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
07/31/2020 | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
Outfall - Monitoring Location - Limit Set: SLL - R - Y
| Fecal coliform | Salmonella
| Mon MPN/g | Mon MPN/g
Mon Pd End Date: | MAXIMUM | MAXIMUM
07/31/2010 | NODI: C | NODI: C
07/31/2011 | NODI: C | NODI: C
07/31/2012 | NODI: C | NODI: C
07/31/2013 | NODI: C | NODI: C
07/31/2014 | NODI: C | NODI: C
12/31/2015
07/31/2016 | NODI: C | NODI: C
07/31/2017 | NODI: C | NODI: C
07/31/2018 | NODI: C | NODI: C
07/31/2019 | NODI: C | NODI: C
07/31/2020 | NODI: C | NODI: C
Outfall - Monitoring Location - Limit Set: SLL - S - A
Pollutant table from 503.13
Mon table #
Mon Pd End Date: | VALUE
07/31/2010 | NODI: C
07/31/2011 | NODI: C
07/31/2012 | NODI: C
07/31/2013 | NODI: C
07/31/2014 | NODI: C
12/31/2015
07/31/2016 | NODI: C
07/31/2017 | NODI: C
07/31/2018 | NODI: C
07/31/2019 | NODI: C
07/31/2020 | NODI: C
Outfall - Monitoring Location - Limit Set: SLL - SL - A
| Description of pathogen option used | Vector attraction reduction altern used
| Mon alt # | Mon alt #
Mon Pd End Date: | VALUE | VALUE
07/31/2010 | NODI: C | NODI: C
07/31/2011 | NODI: C | NODI: C
07/31/2012 | NODI: C | NODI: C
07/31/2013 | NODI: C | NODI: C
07/31/2014 | NODI: C | NODI: C
12/31/2015
07/31/2016 | NODI: C | NODI: C
07/31/2017 | NODI: C | NODI: C
07/31/2018 | NODI: C | NODI: C
07/31/2019 | NODI: C | NODI: C
07/31/2020 | NODI: C | NODI: C
Outfall - Monitoring Location - Limit Set: SLL - T - A
Level of pathogen requirements achieved
Mon state class
Mon Pd End Date: | MX VALUE
07/31/2010 | NODI: C
07/31/2011 | NODI: C
07/31/2012 | NODI: C
07/31/2013 | NODI: C
07/31/2014 | NODI: C
12/31/2015
07/31/2016 | NODI: C
07/31/2017 | NODI: C
07/31/2018 | NODI: C
07/31/2019 | NODI: C
07/31/2020 | NODI: C
Outfall - Monitoring Location - Limit Set: SLS - SL - A
| Arsenic, dry weight | Arsenic, dry weight | Boundary areas | Chromium, dry weight | Chromium, dry weight | Description of pathogen option used | Nickel, total (as Ni) | Nickel, total (as Ni) | Unit w/liner/leachate collection system | Vector attraction reduction altern used | pH
| Mon mg/kg | Mon mg/kg | Mon acr | Mon mg/kg | Mon mg/kg | Mon alt # | Mon mg/kg | Mon mg/kg | Mon Y=1;N=0 | Mon alt # | Mon SU
Mon Pd End Date: | ALLWCONC | SINGSAMP | VALUE | ALLWCONC | SINGSAMP | VALUE | ALLWCONC | SINGSAMP | VALUE | VALUE | MINIMUM
07/31/2010 | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
12/31/2011
07/31/2012 | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
07/31/2013 | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
07/31/2014 | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
12/31/2015
07/31/2016 | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
07/31/2017 | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
07/31/2018 | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
07/31/2019 | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
07/31/2020 | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
Outfall - Monitoring Location - Limit Set: SLS - T - A
Level of pathogen requirements achieved
Mon state class
Mon Pd End Date: | SINGSAMP
07/31/2010 | NODI: C
12/31/2011
07/31/2012 | NODI: C
07/31/2013 | NODI: C
07/31/2014 | NODI: C
12/31/2015
07/31/2016 | NODI: C
07/31/2017 | NODI: C
07/31/2018 | NODI: C
07/31/2019 | NODI: C
07/31/2020 | NODI: C
Outfall - Monitoring Location - Limit Set: SO1 - S - Y
| Conductivity | Nitrogen, total (as N) | Phosphorus, total (as P) | Potassium, total (as K) | pH, in soil
| Mon umho/cm | Mon mg/kg | Mon mg/kg | Mon mg/kg | Mon SU
Mon Pd End Date: | MAXIMUM | MAXIMUM | MAXIMUM | MAXIMUM | MAXIMUM
12/31/2010
12/31/2011
08/31/2012 | 340 | 4.9 | 9 | 455 | 8
08/31/2013 | 355 | 1560 | 5 | 400 | 7.9
08/31/2014 | 276 | 1866 | 7 | 345 | 7.9
12/31/2015
08/31/2016 | 370 | 0 | 2 | 282 | 8
12/31/2017
08/31/2018 | 295 | 120 | 8 | 347 | 7.7
08/31/2019 | NODI: 8 | NODI: 8 | NODI: 8 | NODI: 8 | NODI: 8
08/31/2020 | 191 | 1580 | 6 | 457 | 7.7
08/31/2021 | 459 | 0 | 2 | 444 | 7.8
Outfall - Monitoring Location - Limit Set: SO2 - S - Y
| Conductivity | Nitrogen, total (as N) | Phosphorus, total (as P) | Potassium, total (as K) | pH, in soil
| Mon umho/cm | Mon mg/kg | Mon mg/kg | Mon mg/kg | Mon SU
Mon Pd End Date: | MAXIMUM | MAXIMUM | MAXIMUM | MAXIMUM | MAXIMUM
12/31/2010
12/31/2011
08/31/2012 | 147 | 3.34 | 4 | 200 | 8.4
08/31/2013 | 372 | 1800 | 9 | 496 | 7.6
08/31/2014 | 226 | 1435 | 1 | 209 | 8.1
12/31/2015
08/31/2016 | 370 | 0 | 2 | 282 | 8
12/31/2017
08/31/2018 | 400 | 59.7 | 3 | 254 | 7.8
08/31/2019 | NODI: 8 | NODI: 8 | NODI: 8 | NODI: 8 | NODI: 8
08/31/2020 | 170 | 612 | 2 | 224 | 8
08/31/2021 | 312 | 0 | 0 | 275 | 7.9
Outfall - Monitoring Location - Limit Set: SO3 - S - Y
| Conductivity | Nitrogen, total (as N) | Phosphorus, total (as P) | Potassium, total (as K) | pH, in soil
| Mon umho/cm | Mon mg/kg | Mon mg/kg | Mon mg/kg | Mon SU
Mon Pd End Date: | MAXIMUM | MAXIMUM | MAXIMUM | MAXIMUM | MAXIMUM
12/31/2010
12/31/2011
08/31/2012 | 145 | 3.35 | 7 | 270 | 8.6
08/31/2013 | 332 | 1160 | 17 | 245 | 8.1
08/31/2014 | 185 | 1298 | 1 | 168 | 8.4
12/31/2015
08/31/2016 | 295 | 0 | 3 | 183 | 8.1
12/31/2017
08/31/2018 | 360 | 32.7 | 2 | 289 | 7.9
08/31/2019 | NODI: 8 | NODI: 8 | NODI: 8 | NODI: 8 | NODI: 8
08/31/2020 | 172 | 510 | 1 | 135 | 8.2
08/31/2021 | 140 | 0 | 1 | 171 | 8.1